3G Water Supply Corporation

Meeting Minutes

March 9, 2026

BOD Members present: Collins King, Annette Chamberlain, Nancy Pullen, Mark Richardson, Jeff Davidson, Jack Evans, Jay Andruck, Georgia Collier

PGMS Member: Patrick King

Collins called the meeting to order at 6:04 pm

February minutes were not in the packet so will table for next meeting. We will review February and March minutes at the April meeting. Collins asked Patrick to make sure February and March minutes are in the packet for next month’s meeting.

Nancy Pullen is stepping down as treasurer but will remain on the board. Jeff Davidson has agreed to be treasurer.

We have our three 3G member volunteers for the annual audit. Nancy Pullen will oversee audit. Discussions ensued about member audit processes.

Greenwood acres: Nancy Stanford

Golden Beach:  Judi Guastella

Geola: Tim Hoffman

Financial Report: Nancy

Nancy presented financials.

Mark questioned “special projects.” It was customer notices for annual meeting, 1099 forms, etc

Discussions ensued about putting these items under a different heading other than “special projects.”

Motion made by Jeff to approve financials and invoices, pending professional fees charges clarification, seconded by Jay and approved by all.

Operations Report-PGMS

Patrick presented the operations report.

Significant Events

- Well Control and Emergency Call out system: Patrick got confirmation from 5S they will be out this week to complete installation of radio controls for remote wells and the auto dialer system.

- Plugging well #5 and testing well #6: Due to overgrowth of vegetation Layton will clear out well 5 and 6 for $300. Continue to wait for a quote. Patrick has talked to Pat Lyle and he is either going to do the work or refer us to someone. Patrick hopes this week he will get a quote.  Lyle will also give us a quote for insulation of well heads.

- Agreed Order Status: status of well 5 and 6 is the remaining item to complete comprehensive report to the TCEQ agreed order.

Page 32 in meeting notes has action item list and current standing.

- Pressure Tank Inspections: Would prefer they do both in one day. There might be a possible outage of water during inspection of tanks. Patrick needs to look at tanks to get an idea of how long it might take. Need connection for portable air compressor.  Patrick will do the preliminary work to try and ensure just one day of work.

A motion was made by Jay to approve tank inspection with the caveat that preliminary work is done before, seconded by Mark and approved by all.

- TCEQ Comprehensive Compliance Investigation: still in progress

- Compliant Fencing at all four wells: 3G members thought the bid was a little high. There is currently a chain link fence but not 6ft tall. Jay said he would check around for other bids. Nancy will check around as well.

- Insulation at well heads and water plant areas:  Still no quote for insulation.

- Grant Application Process: Discussions ensued about responses to ads.

- Well Level Report:  All wells have a statis water level of 8”-4” below the top of the inspection tube. Plenty of water in the aquafer.

A motion was made by Jeff to approve the operations report, seconded by Jay and approved by all.

Discussions ensued about someone using 60,000 gallons of water in Golden Beach.

Old Business

Care Flight Helicopter Service: Mark drafted a letter to send to 3G membership about a members experience with Care Flight and along with letter an opt-out form with Care Flight will also be included.

A motion was made by Mark to approve the letter and to include the letter and the opt in and optout form in the water bill, seconded by Nancy and approved by all.

Grant application Process:

LCRA has a grant available for conservation for up to 100,000. Collins will try and fill out form for water line on Elm which we already have a 75,000 bid.

New Business: Nancy is stepping down as treasurer and Jeff Davidson will take her place as treasurer.

Motion made to adjourn meeting by Mark, seconded by Jeff and approved by all.

Minutes Certification:

Proposed minutes respectfully submitted,

Board Secretary/Recording Secretary _________________________________ Date: _________________

Approved by the Board of Directors on Date ____________________________

Board Secretary ___________________________________    Date: __________________________